## Slide 1: 2025 Hydropower Collegiate Competition (HCC)
Noah Dilworth
Jennifer Edgar
Robert Ginieczki
Benjamin Tushingham

## Slide 2: Project Description
Problem Statement: With the desire to remove US reliance on coal, nuclear, and fossil fuel driven energy while also taking advantage of potential energy in respect of water batteries through a closed-loop pumped storage hydropower system. This model will help to address the nations clean energy goals while preserving the environment and making use of untapped power.
Sponsor: US Department of Energy + Energy Club
Advisor/Client: Dr. Carson Pete
Robert Ginieczki
Fig. 1: Art for HCC Competition

## Slide 3: Background & Benchmarking
Oriville Thermatillo Complex
Thorovilel damn and Thermatillo Pump complex
Four Turbines creating 118MW of electricity, powering over 100,000 homes
Horse Mesa Dam
Pumped Storgage Hydro added in 1972
Power output of 97 MW
Local, allowing the team to visit the site and understand more about the system
Helms Pumped Storage Project
Under the process of getting renovated, receving comments on the plans on the 30th of August
Max Work production of 1080 MW
3 reversible turbines
Due to a fire in 2012, upgraded eletrical systems and safety measures
Ben Tushingham
Fig. 2: Simple overview of Pumped Storage Hydro

## Slide 4: Customer and Engineering Requirements
Customer Requirements
Energy Production
Engineering Requirements
Max/Min Energy Output (MW)
Minimal Environmental Impact
Pumped Storage Hydropower Site Feasibility
Community Engagement
Scalability
Reasonable Cost
Environmental Impact (%)
Efficiency (MWh)
Social/Community Impact (#)
Feasibility (years)
Site Interconnectivity ($)
Robert Ginieczki

## Slide 5: House of Quality (QFD)
More weight on energy & environmental
No comparable sources was closed loop
Site location by distance to major power consumers
Noah Dilworth
 | 1 | Energy Output |  |  |  |  |  |  |  |  |  |  | 
 | 2 | Environmental | 1 |  |  |  |  |  |  |  |  |  | 
 | 3 | Efficiency | 9 | 1 |  |  |  |  |  |  |  |  | 
 | 4 | Social/ community | 1 | 3 | 3 |  |  |  | A | The Helms Pumped Storage Project [1] |  |  | 
 | 5 | Competitiveness | 9 | 1 | 9 | 3 |  |  | B | SRP (Horse Mesa Dam) [2] |  |  | 
 | 6 | Site location | 3 | 9 | 3 | 3 | 3 |  | C | Oroville Dam [3] |  |  | 
 | Technical Requirements |  |  |  |  |  |  |  | Comparable Product Comparison |  |  |  | 
Production Req. | weights | %weight | energy output | environmental | efficiency | social/ community | competitiveness | site location | 1 (Poor) | 2 | 3 (Acceptable) | 4 | 5 (Excellent)
energy production | 5 | 0.25 | 9 | 3 | 9 | 7 | 9 | 7 |  | A | B |  | C
environmental impact | 5 | 0.25 | 3 | 9 | 3 | 5 | 7 | 7 |  |  | A | BC | 
cost | 4 | 0.2 | 7 | 7 | 7 | 5 | 9 | 5 |  |  | AC | B | 
community interactivity | 3 | 0.15 | 3 | 7 | 5 | 9 | 5 | 5 |  | A |  | B | C
scale/ longevity | 3 | 0.15 | 9 | 9 | 5 | 5 | 9 | 5 |  | A |  | B | C
 |  | units | GW (10^6 W) | N/A | GW/GW | N/A | N/A | Miles |  |  |  |  | 
 |  | weighted score | 6.2 | 6.8 | 5.9 | 6.1 | 7.9 | 6 |  |  |  |  | 
 |  | rank | 3rd | 2nd | 6th | 4th | 1st | 5th |  |  |  |  | 
Fig. 3: QFD

## Slide 6: Literature Review
Books
  Fluid Mechanics Ninth Edition Chapter 11 [4]
    Serves as a reference textbook for turbine efficiency equations and examples
  Power Generation Technologies Chapter 8 – Hydropower [5]
    Section about 3 specific turbines and their advantages and disadvantages in hydropower
Papers
  Trends and Challenges in the Operation of Pumped-Storage Hydropower Plants [6]
    Discusses the pros of hydropower in a storage aspect to wind and solar and the challenges that follow them along with some challenges related to the electrical side of the storage.
  Life Cycle Assessment of Closed-Loop Pumped Storage Hydropower in the United States [7]
    This paper looks at the environmental aspects of the systems and gives equations to calculate it's effect of the surrounding area. This will be helpful in considering what system will preserve the environment the most.
  Experimental and Numerical Studies of a High-Head Francis Turbine: A Review of the Francis-99 Test Case [8]
    One of the favored turbines in hydropower is the francis turbine and this paper breakdown a real-life study done to test multiple aspects of the turbine. If we decide to use the Francis turbine the equations and description for how to understand the Francis turbine is very beneficial.
Other
  Hydropower – Engineering Toolbox [9]
    Covers equations for calculating the theoretical and actual power of a turbine. Used these equations for mathmatical modeling calculations.
  Types of Hydropower Turbines [10]
    The department of energy's website stating and describing the different turbine options in hydropower.
  ASME : PTC 18
    Covers performance testing and measurement guidelines to provide information of hydropower systems. I am still currently working on getting full access to this standard.
Jennifer Edgar

## Slide 7: Literature Review
Books
  Pumped Hydro Energy Storage for Hybrid Systems: Chapter 2 – Need for pumped hydro energy storage systems [12]
    Benefits of pumped storage-hydro and grid stabilization with emphasis on frequency and voltage regulation. The chapter also highlights some of the different pumped storage-hydro hybrid designs.
  Final Environmental Impact Statement For Hydropower License: Swan Lake North Pumped Storage Project [13]
    Real and comparable environmental impacts of local ecosystems that involve permanent land losses, soil erosion, recreational land usage loss, water loss due to evaporation and counters to water loss, and possible visual ailments involving construction.
Papers
  Francis Turbines: Harnessing the Power of Water [14]
    This paper breaks down the characteristics of Francis turbines including their application ranges with direct output in relations to head size in meters. Standard production Francis turbines to custom made turbines are covered.
  Measurement: Increasing the operating range and energy production in Francis turbines by an early detection of the overload instability [15]
    The theoretical implementation of known data and A.I. to support increasing power output of Francis turbines with causing catastrophic instability within the turbine.
  Promoting Closed-Loop Storage Hydropower Act [16]
    Act that would speed up approval process of pumped storage hydropower systems to 2-years rather than 10-year approval periods.
Other
  Design Features of the Helms Pumped Storage Project: Pg. 10-12 [17]
    Indepth breakdown of electrical systems implemented into a similar, but not completed the same, pumped storage hydropower system.
  Energy: A GIS-based model to calculate the potential for transforming conventional hydropower schemes and non-hydro reservoirs to pumped hydropower schemes [18]
    Identifying possible locations that are suitable for pumped storage hydropower systems. 400 sites with 3800 GWh potential energy storage. Similar search relevant to US search.
Robert Ginieczki

## Slide 8: Literature Review
Books
  Fluid Mechanics Ninth Edition – Chapter 4 and 5 [4]
    Velocity in a pipe and the velocity coming from the pressure of the reservoir
  Soil Mechanics and Foundations – chapter 32 and more [20]
    Looking into what materials are in reservoir and properties to look out for
Papers
  Closed-Loop Pumped Storage Hydropower Resource Assessment for the United States [21]
    Shows site selection and cost of project relative to energy produced
  Renewable Energy Technologies: Cost Analysis Series – Hydropower [22]
    Provides cost and performance data of hydropower energy production
  Swan Lake Final Environmental Impact Statement For Hydropower License [23]
    Goes over Environmental challenges for a Closed Loop PSH system, allows us to Figure out what is needed for our project to viable to be an actual system
Standard
  FERC Engineering Guidelines for the Evaluation of Hydropower Projects [24]
    Goes over FERC standards for Hydro systems to be implemented and approved
Other
  Bath County Pumped Storage Website [25]
    Largest PSH in the United States. Good reference point to look at and can contact the company later to seek guidance
Ben Tushingham

## Slide 9: Literature Review
Books
  Material Sciences and Engineering 10th edition – Chapters 16, 17, & 19 [26]
    Material selection, with formulas for calculating mechanical, thermal, and electrical properties
  Shigley's Mechanical Engineering Design 11th edition – Parts 2 & 3 [27]
    Stress and failure calculations
Papers
  Abrasion erosion of concrete by water-borne sand [28]
    A metric for wear depending on how clean our water is for the project
  A novel reliability-based method of calibrating safety factor: Application to the cemented sand and gravel dams [29]
    Calculations for concrete under stress
  Concrete Dams: thermal-stress and construction stage analysis [30]
    About planning the construction of our theoretical closed loop hydropower energy storage structure
Other
  Failure Modes Approach to Safety Evaluation of Dams [31]
    Frequent and compounding sources of structural damage and failure in hydropower structure
  Dam Safety and Dam Hazards [32]
    Discusses safety considerations in regards to failure but also impact on communities
Noah Dilworth

## Slide 10: Mathematical Modeling
Practically Available Power: Pa (W)
Kaplan Turbine ~ 90% efficiency
Pelton Turbine ~ 90-95%%
Francis Turbine ~ 90-95%
Jennifer Edgar
Engineering Toolbox [9]
Efficiency (u) general range 0.75 to 0.95
Efficiency Ranges [5]
Fig. 4: Keplan Turbine [10]
Fig. 5: Pelton Turbine [10]
Fig. 6: Francis Turbine [10]

## Slide 11: Mathematical Modeling
Volume needed will change drastically based off different variables
  Electrical needs of nearby city
  Change in head of the two reservoirs
  Number of Turbines used.
  This number is based off competition Power needs, not electrical needs
Enviromental concerns due to change in conditions
  Amount of water needed to keep Reservoir Structurally safe
Absolute minimum water needed
  Assuming Head is roughly 200m
  Flow Rate is 500m^3/s for 2 turbines
  1 turbine is needed outside of peak energy time for city needs
  Peak is needed for 4 hours/ non-peak for 20 hours
Ben Tushingham
Fig. 7: Volume from Volumetric Flow Rate
Minimum Volume
1000(m^3/s)*(60s/m)*(60m/h)*(4h)= 1.44 Million Cubic Meters
500(m^3/s)*(60s/m)*(60m/h)*(20h)= 3.6 Million Cubic Meters
Total volume = 5.04 Million cubic meters

## Slide 12: Mathematical Modeling
Power Output in Relation to RPM:
P(W) = τ*RPM*(2*π)/60
1,000,000,000 = τ*(850RPM)*(2*π)/60
Our theoretical torque = 11.6 Million Nm of force
Robert Ginieczki
Τ = Torque in Newton-Meters
Conversions (GW to MW to W)
GW- 1:1,000 MW
MW- 1:1,000,000 W
W- 1,000,000,000
Based off a Reservoir size of 5.04 million Cubic Meters:
Eg = 86.92
h = 200m
l = 1000m
Inputting this data into equation:
Ct = $41,066,155.47
Tunneling Cost Equation:
Fig. 8: Tunnelling cost equation according to NREL [21]

## Slide 13: Mathematical Modeling
Material Stress Calculations
Noah Dilworth
Calculating the stresses in our simple parts, combining loads to compare with material properties
Normal and Shear vary
Used for calculating safety factors and such
Fig. 9: Material Stress Calculations [33]

## Slide 14: Mathematical Modeling
Using ARCgis from Esri to pull data from various topics to help site selection
Attributes for the dam selection in the site can include:
Average Rain Fall
Elevation Differences
Power Lines
Existing Reservoirs/Rivers
Ben Tushingham
Fig. 10: ARCgis Map showing Reservoirs in the United States

## Slide 15: Schedule and Budget
Key Dates:
  HCC Kickoff Meeting: October 4th
  Midyear Submission: January 27, 2025, at 11:59 p.m. MST
Budget: $15,000
  Additional $1,500 that the team is going to fundraise
Joining the Energy club to set up fundraising opportunities for the energy capstones
Jennifer Edgar

## Slide 16: Conclusion
Overall: Project requirements identified, and team is familiar with technology
Prepare for HCC Kickoff Meeting with questions and background knowledge
Obtain more resources and project personnel to begin site selection
Next Steps: Contact potential funding sources
Jennifer Edgar

## Slide 17: Thank You!

## Slide 18: References
[1] K. Paul Jr. "Design Features of the Helms Pumped Storage Project", IEEE Transactions of Energy Conversion, vol. 4, no. 1. March 1989.
[2] "SRP Power Generation Sources", SRP website, accessed Sept. 15, 2024. [Online]. Avaliable: https://www.srpnet.com/grid-water-management/grid-management/power-generation-stations.
[3] "Oroville", California Department of Water Resources, accessed Sept. 15, 2024. [Online]. Avaliable: https://water.ca.gov/programs/state-water-project/swp-facilities/oroville#:~:text=It%20also%20provides%20pumped%2Dstorage,feet%2C%20in%20the%20United%20States.
[4] F. M. White and H. Xue, Fluid Mechanics. New York, NY: McGraw-Hill, 2021.
[5] P. Breeze, “Chapter 8 - Hydropower,” in Power Generation Technologies (Second Edition) , Newnes, 2014, pp. 153–179
[6] J. I. Pérez-Díaz, M. Chazarra, J. García-González, G. Cavazzini, and A. Stoppato, “Trends and challenges in the operation of pumped-storage hydropower plants,” Renewable and Sustainable Energy Reviews, vol. 44, pp. 767–784, Apr. 2015. doi:10.1016/j.rser.2015.01.029
[7] T. R. Simon et al., “Life cycle assessment of closed-loop pumped storage hydropower in the United States,” Environmental Science &amp; Technology, vol. 57, no. 33, pp. 12251–12258, Aug. 2023. doi:10.1021/acs.est.2c09189
[8] C. Trivedi, M. Cervantes, and O. Dahlhaug, “Experimental and numerical studies of a high-head Francis Turbine: A review of the Francis-99 Test Case,” Energies, vol. 9, no. 2, p. 74, Jan. 2016. doi:10.3390/en9020074
[9] E. Engineeringtoolbox, “Hydropower,” Engineering ToolBox, https://www.engineeringtoolbox.com/hydropower-d_1359.html (accessed Sep. 14, 2024).
[10] “Types of hydropower turbines | Department of Energy,” Department of Energy, https://www.energy.gov/eere/water/types-hydropower-turbines (accessed Sep. 15, 2024).
[11] “Francis Turbine: Diagram, construction, working, applications,” Testbook, https://testbook.com/mechanical-engineering/francis-turbine (accessed Sep. 14, 2024).
[12] F. A. Diawuo and R. T. Amanor, "Need for pumped hydro energy storage systems," in Pumped Hydro Energy Storage for Hybrid Systems, A. T. Kabo-Bah, F. A. Diawuo, and E. O. Antwi, Eds. Academic Press, 2023, pp. 23-41. doi: 10.1016/B978-0-12-818853-8.00001-7

## Slide 19: References
[13] Federal Energy Regulatory Commission, "Final Environmental Impact Statement for the Mountain Valley Pipeline Project," Federal Energy Regulatory Commission, Jan. 25, 2019. [Online]. Available: https://www.ferc.gov/sites/default/files/2020-06/01-25-19-FEIS.pdf. [Accessed: Sep. 16, 2024].
[14] Voith, "Francis Turbines," Voith, 2018. [Online]. Available: https://voith.com/corp-en/VH_Product-Brochure-Francis-Turbines_18_BDI_VH3369_en.pdf. [Accessed: Sep. 16, 2024].
[15] W. Zhao, A. Presas, M. Egusquiza, D. Valentín, E. Egusquiza, and C. Valero, "Increasing the operating range and energy production in Francis turbines by an early detection of the overload instability," Measurement, vol. 181, p. 109580, 2021. doi: 10.1016/j.measurement.2021.109580.
[16] U.S. House of Representatives, "Report on the Activities of the Committee on Energy and Commerce for the One Hundred Fifteenth Congress," U.S. Government Publishing Office, Washington, DC, Rep. 115-458, 2018. [Online]. Available: https://www.govinfo.gov/content/pkg/CRPT-115hrpt458/pdf/CRPT-115hrpt458.pdf. [Accessed: Sep. 16, 2024].
[17] "Design features of the Helms pumped storage project," IEEE Xplore, pp. 10-12. [Online]. Available: https://www.ieee.org. [Accessed: Sep. 16, 2024].
[18] N. Fitzgerald, R. Lacal Arántegui, E. McKeogh, and P. Leahy, "A GIS-based model to calculate the potential for transforming conventional hydropower schemes and non-hydro reservoirs to pumped hydropower schemes," Energy, vol. 41, no. 1, pp. 483-490, 2012. doi: 10.1016/j.energy.2012.02.044. [Accessed: Sep. 16, 2024].
[19] F. M. White and H. Xue, Fluid Mechanics. New York, NY: McGraw-Hill, 2021.
[20] B. C. Punmia, Ashok Kumar Jain, and Arun Kumar Jain, Soil mechanics and foundations. Delhi: Laxmi Publications (P) Ltd., , C, 2005.
‌[21] “Closed-Loop Pumped Storage Hydropower Resource Assessment for the United States Final Report on HydroWIRES Project D1: Improving Hydropower and PSH Representations in Capacity Expansion Models,” 2022. Available: https://www.nrel.gov/docs/fy22osti/81277.pdf
[22]"2021 Pumped Storage Hydro Report," 2021. Available: 2021-Pumped-Storage-Report-NHA.pdf (hydro.org)

## Slide 20: References
[23] S. Lake, “FINAL ENVIRONMENTAL IMPACT STATEMENT FOR HYDROPOWER LICENSE,” 2019. Accessed: Sep. 17, 2024. [Online]. Available: https://www.ferc.gov/sites/default/files/2020-06/01-25-19-FEIS.pdf
[24] “Federal Energy Regulatory Commission Engineering Guidelines for the Evaluation of Hydropower Projects,” 2017. Accessed: Sep. 17, 2024. [Online]. Available: https://www.ferc.gov/sites/default/files/2020-04/Chap14AppendixH.pdf
‌[25] “Bath County Pumped Storage Station | Dominion Energy,” www.dominionenergy.com. https://www.dominionenergy.com/projects-and-facilities/hydroelectric-power-facilities-and-projects/bath-county-pumped-storage-station
[26] W. D. Caster Jr., D. G. Rethwisch. "Material Sciences and Engineering". Danvers, MA: McGraw-Hill Education, 2000. ISBN-13: 9781119321590
[27] R. G. Budynas, J. K, Nisbett. "Shigley's Mechanical Engineering Design". New York, NY: John Wiley and Sons, Inc., 2020. ISBN-978-0-07-339821-1
[28] Y. Liu, T. Yen, T Hsu. "Abrasion erosion of concrete by water-borne sand". Cement and Concrete Research, vol. 36, issue 10,
2006, pages 1814-1820, ISSN 0008-8846, https://doi.org/10.1016/j.cemconres.2005.03.018.
[29] N. Hao, X. Li, Y. Li, J. Jia, L. Gao. "A novel reliability-based method of calibrating safety factor: Application to the cemented sand and gravel dams". Engineering Geology, vol. 306, 2022, ISSN 0013-7952, https://doi.org/10.1016/j.enggeo.2022.106719.
[30] E. Sayed-Ahmed, A. Abdelrahman, R. Embaby. "Concrete dams: thermal-stress and construction stage analysis". Dams and Reservoirs, vol. 28 issue 1, pp. 12-30. March, 2018. E-ISSN 1756-8404. [Online]. Accessed September 15, 2024. Avaliable: https://doi.org/10.1680/jdare.16.00055
[31] Y. Ghanaat. "Failure Modes Approach to Safety Evaluation of Dams". 13th World Conference on Earthquake Engineering, Vancouver, CA, paper no. 1115. Accessed Sept. 15, 2024. [Online]. Avaliable: http://queststructures.com/publications/13WCEE-Paper.pdf
[32] J. Laue, and S. Knutsson, ‘Dam Safety and Dams Hazards’, Journal of Earth Sciences and Geotechnical Engineering,, vol. 10, no. 6, pp. 23–40, 2020.

## Slide 21: References
[33] D. Holmes. "Mechanics of Materials: Combined Loading". Boston University Mechanical Engineering. Accessed Sept. 15, 2024. Avaliable:https://www.bu.edu/moss/mechanics-of-materials-combined-loading/
[34] masao, “PPT - Fluid Systems PowerPoint Presentation, free download - ID:2402299,” SlideServe, Jul. 26, 2014. https://www.slideserve.com/masao/fluid-systems (accessed Sep. 17, 2024).
[35] Hydraulic Turbines and Pump-Turbines: PTC 18 - 2020(R2016). New York, NY: American Society of Mechanical Engineers, 2021